SKYE INSTRUMENTS LIMITED

21 Ddole Enterprise Park, Llandrindod Wells, Powys, LD1 6DF UK

Tel: +44 (0) 1597 824811   Fax: +44 (0) 1597 824812

Email: skyemail@skyeinstruments.com     Web:  http://www.skyeinstruments.com

DATAHOG2

Using with the Kipp & Zonen CSD3 Sunshine Sensors

Skye’s DataHog2 datalogger is compatible with the Kipp & Zonen CSD3 Sunshine Sensor, but requires a specially configured input socket to record the 2 available outputs. This socket is configured as:

- 1 mV per watts m-2  for direct solar radiation

- 0-1V for sunshine status (for sunshine hours) where a value of  0 = no sunshine and

1V = sunshine

- /F power supply to the sensor

An external power supply of 9-15 VDC is required to power the CSD3, as the DataHog2 can supply only 5 VDC to sensors. The /F power option automatically switches the external supply to the sensor around 0.5s before a measurement is taken.

The direct solar radiation output is usually recorded as averaged measurements, e.g. the DataHog2’s default setting is to record the average of 30 second “samples” at 30 minutes intervals.

The sunshine status can be recorded in several ways, according to user preference. The status is shown as a zero value for no sunshine and a value of 1 for sunshine. One or all of these options can be recorded as preferred.

- An averaged reading of sunshine status, as described above for direct solar radiation intensity, will give an indication of the percentage of sunshine during the 30 minute period (e.g. a reading of 0.75 indicates the sun was shining for 75% of the time).

- A “spot” recording will give the actual sunshine status at the time of measurement. For this the DataHog2’s sample and logging intervals should be identical, e.g. 30 minute sample and 30 minute logging. Please note that the sunshine status between the 30 minute measurement will not be monitored in this case.

- Log only full sunshine measurements. By using the DataHog2’s “Log Above Threshold” function, it can be set to record only the sunshine status of 1 and ignore the zero readings (e.g. only log values above 0.9). A “spot” logging interval more frequent than 30 minutes is usually chosen as many zero measurement ill be ignored. Please note that choosing non equal logging intervals for different sensor channels can make data difficult to analyse in Excel as data may not always appear in the same columns. However this is not a problem when using Skye’s  SkyeLynx Deluxe software.

The CSD3 sensor has an internal thermostat and heater option. If these options are used, then the heater cannot be powered via the DataHog2 logger, and must be powered from an external power supply with the ACC/9HS junction box. Please see separate datasheet for full details.

If no heating is required, the sensor can be connected directly to the DataHog2 logger.

#### ORDERING INFORMATION

- Your choice of DataHog, please specify a special socket for the CSD3 sensor, plus longer RS232 datalead (up to 50m) if required

- CSD3 sensor with DataHog connector fitted

- ACC/9HS waterproof junction box for external power supply, includes pole mount

- Your choice of power supply, e.g. ACC/9-12V or BATT/M, with required length of cable. The standard ACC/9 Mains Hog cannot be used with the CSD3 heater option.