SKYE INSTRUMENTS LIMITED

21 Ddole Enterprise Park, Llandrindod Wells, Powys, LD1 6DF UK

Tel: +44 (0) 1597 824811   Fax: +44 (0) 1597 824812

Email: skyemail@skyeinstruments.com     Web:  http://www.skyeinstruments.com

## SPECTROSENSE2+ - DOWNLOADING DATA

- Connect the SpectroSense2+ meter to the PC and switch on

- On the meter, use the Up / Down arrow keys to choose menu option 26 and press Enter

- Open the SpectroSense2+.GPS software

Click the Auto-Find Target button. This will change to Proceed once the software has found the meter.

Click the Proceed button

- In the new window, click the Data Offload button

- Click the Save File button to enter a filename to store the data. Click Save.

- Click Close to exit this window.

- To view the file you have just saved, click the View Data Files button

The file is a csv ASCII file which is easily imported into Excel for analysis.

The top 10 lines show the meter’s current set up. Below this is the stored data.

- Click Close to exit this window

- Click Quit to exit the program